DAILY FIELD REPORT - 06-12-2026

Project: Morena Conveyance Northern
Resident Engineer: Terry West
Weather: High: 78°F, Low: 64°F, Wind: 9 mph WNW, Partly Cloudy
Hours: 6:30 AM - 3:00 PM

## Activities Detail

Genesee / Centurion Sq. – RJ Noble – Dig Outs

• Digout Schedule — 12-Jun-26:

- DO #7 ? — 1' depth × 587L × 12W = 7,044 SF (528.3 tons)

Total: 7,044 SF / 528.3 Tons

• Material: 610 TN 3/4" HMA

• Plant: MM MIRAMAR

Hours: 7:30 PM - 11:00 AM

Manpower:

LL-02- Foreman - QTY 1 - 10.5 HRS EA - RJ Noble

LL-04- Operator - QTY 1 - 10.5 HRS EA - RJ Noble

LL-03- Laborers - QTY 1 - 10.5 HRS EA - RJ Noble

LL-04- Operator - QTY 1 - 9.5 HRS EA - RJ Noble

LL-03- Laborers - QTY 1 - 6 HRS EA - RJ Noble

LL-04- Operator - QTY 8 - 6 HRS EA - RJ Noble

LL-04- Operator - QTY 1 - 6 HRS EA - RJ Noble

LL-18- Visitor - QTY 1 - 8 HRS EA - Klienfelder

Equipment:

LE-13- Roller H222 - QTY 1 - 10.5 HRS EA - RJ Noble

LE-09- Skip Loader - QTY 1 - 10.5 HRS EA - RJ Noble

LE-125- Skid Steer - QTY 1 - 10.5 HRS EA - RJ Noble

LE-63- Asphalt Paver - QTY 1 - 10.5 HRS EA - RJ Noble

LE-51- Pickup Truck - QTY 1 - 10.5 HRS EA - RJ Noble

LE-01- Crew Truck - QTY 1 - 10.5 HRS EA - RJ Noble

LE-141- End Dump - QTY 1 - 10.5 HRS EA - RJ Noble

LE-42- Utility Truck - QTY 1 - 10.5 HRS EA - RJ Noble

LE-19- Street sweeper - QTY 1 - 10.5 HRS EA - RJ Noble

LE-141- End Dump - QTY 8 - 10.5 HRS EA - RJ Noble

LE-71- Pavement Grinder - QTY 1 - 10.5 HRS EA - RJ Noble

LE-28- Water Truck - QTY 1 - 10.5 HRS EA - RJ Noble

Extra Work Manpower:

LL-04- Operator - QTY 1 - 10.5 HRS EA - OHLA

LL-03- Laborers - QTY 1 - 10.5 HRS EA - OHLA

Extra Work Equipment:

LE-01- Crew Truck - QTY 1 - 10.5 HRS EA - OHLA

LE-157- Tack Truck - QTY 1 - 10.5 HRS EA - OHLA