DAILY FIELD REPORT - 05-17-2026

Project: Morena Conveyance North
Location: Rose Canyon
Resident Engineer: Terry West
Weather: Cloudy 72°
Hours: 06:00 - 14:30

General Notes:

OHLA crew performed hand excavation at Rose Canyon, preparing the 30-inch pipe tie-in location. The area is now ready for the connection.

## Activities Detail

Rose Canyon - OHLA- Excavation / Tie-in Prep

• Crew performed hand excavation for the 30-inch tie-in location.
• Soil was shoveled into the excavator bucket for removal.
• The existing pipe was cleared on the sides and bottom.
• Crews cleared an area extending 5 ft back from the end of the pipe.
• The excavation for tie-in to the 30 in is completed.

Hours: 6:00 AM - 2:30 PM

Manpower:

LL-02- Foreman - QTY 1 - 8 HRS EA - OHL NA

LL-04- Operator - QTY 1 - 8 HRS EA - OHL NA

LL-03- Laborers - QTY 3 - 8 HRS EA - OHL NA

Equipment:

LE-109- Excavator - QTY 1 - 8 HRS EA - OHL NA

LE-01- Crew Truck - QTY 1 - 8 HRS EA - OHL NA

## Consolidated Resources

| Resource | Pay Type | Class | Qty | Company | Total Hours |
| --- | --- | --- | --- | --- | --- |
| LL-02- Foreman | CS - Cost | LR - Labor Regular Time | 1 | OHL NA | 8 |
| LL-04- Operator | CS - Cost | LR - Labor Regular Time | 1 | OHL NA | 8 |
| LL-03- Laborers | CS - Cost | LR - Labor Regular Time | 3 | OHL NA | 24 |
| LE-109- Excavator | CS - Cost | LR - Labor Regular Time | 1 | OHL NA | 8 |
| LE-01- Crew Truck | CS - Cost | LR - Labor Regular Time | 1 | OHL NA | 8 |